## Slide 1: Giromill

## Slide 2: Advantages :
The H-rotor can be placed on a higher tower and is normally not as close to the ground like a Darrieus turbine.
The H-rotor has better aerodynamic performance than the Darrieus rotor
the H-rotor has a simpler construction due to the straight blades, which makes it cheaper and easier to manufacture.

## Slide 3: Disadvantages :
Large bending moments on the blades .

## Slide 4: Scaling up: